## Slide 1: Why is time representation important?
Imagine you have the task to plan the current and future energy supply in such way as to always meet the demand...
You are going to face some issues:
All characteristics of the energy system vary over different time scales (hours, days, weeks, seasons), both on demand and supply side.
Think for instance of:

## Slide 2: Why is time representation important?
Resources
Primary
Secondary
Final
  Energy demand

## Slide 3: Variability of Energy Demand
In most cases energy demand is varying over time: consumers’ activities are different during the day/week/year;
In some cases it is important to model demand variations in order to supply energy at time when it is needed

## Slide 4: Variability of Energy Demand - Seasonal
Chart: Average Monthly Load [MW]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
MW | 597.8861 | 553.683 | 464.0855 | 431.3617 | 510.5754 | 550.6979 | 785.489 | 725.7461 | 664.6784 | 484.5063 | 456.8834 | 537.1298

## Slide 5: Variability of Energy Demand - Average Daily
Chart: Load [MW]

## Slide 6: Example: electricity demand
  In each moment, the system has to be in balance:
  Generation = Consumption + Losses
  Electricity demand has significant variations (daily, weekly, seasonally etc.)
  No economically viable way to store large quantities of electricity
  Some technologies for electricity supply have limited flexibility in operation (nuclear, CHP etc.)
0
8760
Electricity
(load curve)
Water resources
(Availability)
Electricity Demand (MW)
Availability (%)

## Slide 7: Why is time representation important?
Resources
Primary
Secondary
Final
  Availability of energy supply technologies and storage;

## Slide 8: Operation of storages
Source: http://balancingthebasin.armylive.dodlive.mil

## Slide 9: Why is time representation important?
Resources
Primary
Secondary
Final
  Availability of renewable energy sources (water, irradiation, wind, etc...);

## Slide 10: Availability of energy carriers and renewable resources

## Slide 11: Why is time representation important?
Resources
Primary
Secondary
Final
  Energy prices fluctuations.

## Slide 12: Energy prices fluctuations
Years
Energy Prices

## Slide 13: Why is time representation important?
All characteristics of the energy system vary over different time scales (days, weeks, seasons), both on demand and supply side.
Think for instance of:
  Energy demand;
  Availability of energy supply technologies and storage;
  Availability of renewable energy sources (water, irradiation, wind, etc...);
  Energy prices fluctuations.
🡪 Need to ensure there is enough capacity to meet the demand

## Slide 14: How to have time representation in an energy system model?

## Slide 15: How to have time representation in an ESM?
We’ll divide one year into ’Time Slices’
Variation of different variables over time can be represented using the Time Slices
Time Slices are represented as Seasons, Days of the season (day types) and parts of the day (daily time brackets)
One set of Time Slices can be defined in OSeMOSYS for a case study and it is applied to every modelled year
Time Slices are characterized by their duration
Change of Time Slice definition when model already developed can cause problems and should be avoided or done carefully

## Slide 16: Example: how to define time slices
Modeling period
–
5
years
One year
–
6
seasons
S1
S2
S3
S4
S5
S6
One season
–
2
day types
Working day
Weekend/Holiday
One day type
–
2
parts
Day
Night
24 Time Slices per year

## Slide 17: How to define time slices?
Number of time slices must be large enough to take into account all important variations in the system (energy demand variations, supply side variations, availability of resources, etc.)
Number of time slices should not be too high in order to minimize problem size, data handling and computational efforts